## Modular / AI Data Centers Risk Checklist for

### 1. Energy Grid & Utility Impacts

- Has the developer provided a full utility load profile (daily, seasonal, peak)?

- Does the project trigger grid upgrades that may shift costs onto ratepayers?

- Is the facility using backup generators? If yes:

  - Fuel type (diesel, nat gas, other)

  - Hours-per-year limits

  - Emissions controls

- Who pays for new substations, transformers, and line upgrades?

- Does local infrastructure support the load without causing outages or rate increases?

### 2. Environmental & Health Impacts

- Cooling system type:

  - Air-cooled, water-cooled, evaporative, immersion

- Annual water consumption estimate available?

- Air emissions from generators documented?

- Expected noise levels during:

  - Normal operation

  - Generator testing

  - Peak AI workloads

- Heat exhaust direction and mitigation reviewed?

- Are there identified risks of particulate emissions, health impacts, or local air quality changes?

### 3. Siting & Land Use Compatibility

- Does the project meet the community’s desired land-use pattern?

- Are setbacks from residential areas adequate (250–400 ft typical)?

- Are buffers (landscaping, berms, fencing) sufficient to block noise and visual impacts?

- Will lighting follow Dark Sky requirements?

- Is the modular footprint expandable? If so, is expansion capped?

### 4. Community Impact & Transparency

- Did the developer seek NDAs with city officials?

- Has the developer provided a public-facing description of:

  - Total power draw

  - Cooling method

  - Generator hours

  - Expected noise levels

- Are public meetings being held early and openly?

- Is there a clear process for community complaints?

### 5. Economic & Fiscal Risks

- Does the project require tax incentives or abatements?

- Has the municipality modeled the net fiscal benefit versus service and infrastructure costs?

- How many long-term full-time jobs will exist (most data centers have ~10–30)?

- Are emergency services (fire, EMS) likely to need equipment upgrades to support lithium batteries, generators, or fires?

### 6. Operational Risks

- Who monitors generator usage?

- Are there clear noise limits in both daytime and nighttime?

- Is there an emergency shutdown plan that protects both facility and community?

- Are hazardous materials on-site (battery storage, fuels, coolants)?

- Does the operator have a track record of managing these systems safely?

### 7. Company & Project Risk

- Is the developer a new or unproven company?

- Does the company have:

  - Completed projects of similar size?

  - Independent third-party performance data?

  - Transparent ownership and financing?

- Are there risks of the project failing mid-construction, leaving unfinished structures?

- Are there robust decommissioning bonds in place?

### 8. Legal & Regulatory Compliance

- Does the project trigger environmental review (local or state)?

- Are local ordinances updated to cover:

  - Noise

  - Light

  - Water use

  - Emissions

  - Substation siting

  - Decommissioning

- Is a Conditional Use Permit (CUP) required and enforceable?

- Are there penalties for non-compliance (daily fines, stop-work authority, permit revocation)?

### 9. Decommissioning and Long-Term Liability

- Has the developer provided a decommissioning plan?

- Is financial assurance (bond, escrow) sufficient to cover full site removal?

- Is there a plan to remove modular units, substations, underground utilities, and restoration of land?

- Are there community protections if the company dissolves or leaves?

### 10. Emergency Response & Safety

- Has the local fire department reviewed the design?

- Is there special risk involving:

  - Lithium battery energy storage

  - Diesel or nat-gas storage

  - High-voltage switching stations

  - Extreme heat loads

- Are required trainings or gear upgrades included in developer commitments?